## Slide 1
SPEN Diffusion Reconstruction
(a) Training the magnitude prior
Unconditional EDM training
(b) Physics-constrained sampling
Clean magnitude MRI
x0
Add Gaussian noise
xσ = x0 + σ ε
Noisy image
xσ
Dθ(xσ, σ)
U-Net
Denoised estimate
Dθ(xσ, σ)
Loss
(to clean target)
ℒ = E[ w(σ) ‖Dθ(xσ, σ) − x0‖2 ]
Freeze trained weights
Measured SPEN data y
(multi-coil, complex)
PE (acquired rows)
RO (after FFT)
After scanner phase correction
and RO FFT
Calibration from measurements
(not ground-truth maps)
Weighted
InvA
(w†, adjoint)
Complex
coil images
zc
…
Ŝc =
zc
RSS(z)
Magnitude
|Ŝc|
…
Phase
∠Ŝc
π
0
−π
Fixed complex coil fractions: coil + object phase
Interpolate and normalize for finer grids
Gaussian
initialization
Frozen denoiser
Dθ
Clean estimate
x̂0
Data
consistency
Diffusion
update
Reconstruction
x̂
Repeat as σ decreases
What the SPEN degradation operator does
m =
(x + 1)
2
Denoiser predicts
normalized real
magnitude x.
Nonnegative
magnitude m = (x + 1)/2.
× Ŝc
Apply fixed
complex coil
fractions
(from measurements)
APE:
SPEN encoding
|APE|
Same scanner
trajectory
DRO:
RO band limitation
RO frequency
Retain acquired
bandwidth
M:
acquired PE rows
Retained rows
Missing rows
Full or undersampled PE
Predicted complex
data
Fc(x)
Fc(x) = M DRO APE [Ŝc
x + 1
2
]
Example: 192 × 192 image grid → 96 × 96 acquisition
Experimental extension: phase refinement
Optional
Even PE × RO
+0.3
0
−0.3
Residual φ [rad]
48 × 96
• Fit residual odd/even phase
from measured data
• Even rows: exp(iφ); odd rows: 1
• Update phase during sampling;
prior stays frozen
Fφ,c(x) = M{ exp(iEφ) ⊙ DRO APE [Ŝc m] }
E inserts phase on original even scanner rows BEFORE PE masking.
Key:
Blue: learned prior
Teal: fixed physics
Purple: phase / coil estimates
Orange: measurement consistency